# Marking Guide
Scientific argument: Quality of the background/ literature review, citations/ analysis/ justification for claims, quantity and quality of literature, justification for choice of software / Every claim is supported by high-quality evidence or justification. Ideas are supported logically using different pieces of evidence. Excellent description of the pros and cons, approach and choices. Ten or more pieces of relevant and high-quality literature referred to and used to clearly support a claim. / Harvard Referencing is Required – Used Harvard Educational Review Base for Zotero

# Nomenclature
Abbreviation
STLF	Short Term electrical Load Forecasting
ANN	Artifical Neural Network
LSTM	Long Short-Term Memory
AEMO	Australian Energy Market Operator
ML	Machine Learning
ARMA	AutoRegressive Moving Average
RBM	Restricted Boltzmann Machine
ELM	Extreme Learning Machine
ARIMA	AutoRegressive Integrated Moving Average

# Literature Review
## Brief Intro and motivation tie back to the research question:
This section reviews literature from academic and industry sources, regarding historical and modern methodologies around STLF. The research aims to inform and guide decision making processes in project areas such as data collection, data analysis, model selection and model evaluation.
## Factor affecting electrical load
For data collection, the project draws on temperature, time, and aggregated AEMO price data. These variables have been established as key covariates of electrical load (Andriopoulos et al., 2020; Houimli et al., 2020). Temperature notably driving energy demand in the form of heating and cooling, the relationship being non-linear and time dependent (Javed et al., 2021). Other features of consideration include degree days, special event days, humidity and socioeconomic factors such as population, gross national product, imports, and exports [AEMO] & (Kavaklioglu et al. - HARVARD REF). The diversity of variables emphasising the landscape of STLF research with variations in scale, ranging from a single transformer to entire countries, and time frames, from 5minute upto 7 days (Aguilar Madrid & Antonio, 2021).
With the projects consideration being only NSW and due to accessibility to granular data, only relevant variables that are readily accessible will be included.
## STLF approaches History
STLF was approached traditionally with statistical time-series models. Univariate models such as ARIMA and exponential smoothing relied solely on historical electrical load data for forecasting, ignoring the key temperature variable. Multivariate models allowed for more features to be introduced but still struggled with capturing non-linearities and temporal variations in the datasets (Rodrigues et al., 2023). This built into the modern machine learning dominated space. The popularity attributed to machine learning methods being able to handle exogenous variables, achieve higher accuracy and ability to include ever increasingly available data (Gabaldón, 2021).
A review of what was included is outlined in TABLE-LitReviewBreakdown and should emphasize how more recent methods rely on various procedures.
Each method has associated strengths and weaknesses [NEW TABLE] however XGB and LSTM often were out-performers in terms of accuracy and robustness. [REFERENCE] Apart from model choice other approaches used to boost performance include techniques around data preparation, data manipulation and hybrid ensemble methods.

## Data prep techniques
To prepare the data, the project draws on procedures from (Koukaras et al., 2024). The study defined outliers based on extreme values relative to the deviation of median values from the mean and addressed their outliers, in both power and temperature variables, by capping the values. The study recommended using linear interpolation for missing weather data, with reasoning that it was a common approach. Since however our projects missing data ranged over days, the linear approximation was unable to reproduce the seasonality trends. Data was further prepared for ML algorithms by standardising using scikit-learns ‘StandardScaler’ which was adopted by this project. This generally improves convergence rate and accuracy of machine learning models.

## Data Manipulation techniques
### Synthetic data techniques – Fix references
A developing method is synthesising artificial data to help modelling when there is limited availability of training data, termed the ‘cold start’ problem. (Heidrich et al., 2022) technique generates data using seed noise sampling. Though the technique introduces a new hyper-parameter and various assumptions, adding complexity to methodology, the technique was reported to improve accuracy of machine learning forecasting models. Similar efforts where also explored by (Fan et al, 2022) who created slightly modified versions of data by applying noise, rotation, jittering and scaling to original datasets.

### Probabilistic load forecasting [Probabilistic electric load forecasting: A tutorial review]
The probabilistic load forecasting field was also considered for the project. The technique aims to create probability density functions for the overall balance of power, by considering input and output features as random variables. With some distribution assumptions, such as forecasted load following a normal distribution, predictions can be made on a distribution of data rather than point or interval estimates.

(Gabaldón, 2021) provides some papers outlining other state of the art techniques of the time such as forecasting with convolution network that combines data augmentation techniques to artificially enlarge training data or the computationally expensive running of monte carlo simulations.

Since we have data availability over 10years, with excellent temperature granularity, the added complexity of data manipulation techniques was considered and not included as part of the project.

## Hybrid/ ensemble methods/models
A commonality among the articles is the significance of appropriate model selection, methodologies tailored to specific forecasting tasks and datasets all while being mindful of computational resources required. (Aguilar Madrid & Antonio, 2021).
For this reason a range of different models will be engineered for the task that will draw on existing evaluation metrics to select a priority model.
Each candidate model has shown previous success in related works or are viable for establishing a baseline.
Selected modelling types are also selected with time constraints and team skill sets in mind.
The selected models include X Y Z.

Some studies also focus on optimising hyper-parameters or leveraging feature importance to enhance model performance.(Aguilar Madrid & Antonio, 2021).

### Table – Organise based on concluded best model

Reference	Best model	Notes	Reported metric range / mean±sd (if available)
Huang et al., 2021	Deep Learning / LSTM	Decomposition based mode
Guo et al., 2020	Hybrid	Combined models that integrate statistical methods with machine learning algorithms
	Hybrid	Hybrid model such as combining XGB with SVR or LSTM [38-40]. (Aguilar Madrid & Antonio, 2021)
(Aguilar Madrid & Antonio, 2021)	XGBoost	XGB outperformed in areas including time (training and predictions), flexibility (in hyperparameter space) and interpretability (through feature importance property) / Extreme Gradient Boosting Regressor (XGBoost) algorithm / temperature is critical in STLF	MAPE:3.66±2.95
(Hafeez et al., 2020)	Deep Learning / RBM	Deep learning RBM and conditional RBM (CRBM) / complete model name MMI-FCRBM-GWDO / Stated model was able to capture highly abstracted features / used MMI for feature selection / used GWDO algorithm to tun hyper parameters / Hybrid models had improved results	MAPE:0.45±0.09
[a comparative analysis of machine learning approaches for short-/long-term electricity load forecast in cyprus]	adaptive neural fuzzy inference system
(Candanedo et al., 2017	Deep Learning / LSTM	Forecasting applicances in low energy houses / used factor analysis
(Veeramsetty et al., 2021)	Deep Learning / LSTM	Used Bartletts test and kaiser-meyer-olkin (KMO) to check for potential dimensionality reduction / best performing model had 2 hidden layers of 23 neurons with a batch size of 32 / data was based on a single substation	MSE: 0.0138±0.000733 / RMSE: 0.1172±0.003194 / MAE:0.0874±0.003912
(Houimli et al., 2020)	ANN	levenberg-marquardt algorithm outperformed rp algorithm and cgb algorithm's(resilient back-propagation and conjugate gradient algorithm) / produced 5 models (1 for Monday and 4 for Thursday through to Sunday)	MSE: 2.10526 (5model average)
(Xu et al., 2018)	Hybrid	Used a LSTM and ELM as input to a linear regression model. / Data preprocess / -ensured the outputs ranged from -1:1 as the activation function of the LSTM was tanh / -electrical load data was normalized (min-max normalisation → transformed range 0 to 1 -adjusted only 2 hyperparameters: number of hidden neurons and the number of input variables / Hybrid model had half the MAE value compared to each individual component model	MAE: 2.8782 / MRE(%): 5.4335 / RMSE: 3.6224
(Solyali, 2020)	ANN	The article also produced a ANFIS (adaptive neuro-fuzzy inference system), MLR (multiple linear regression) and SVM (support vector machine) model	RMSE: 7.67+14.91 /2 (Average over 2 models 1 per year)

## Model Evaluation
Most articles reviewed utilise multiple metrics for model assessment and include the (see table above): (Huang et al., 2021).
- RMSE
- MAE
- R2
- CVRMSE – coefficient of variation of Root Mean Square Error
- NRMSE – Normalised RMSE
A common practice that was also visible throughout the literature was the use of cross validation to better estimate the test error, allowing for a more accurate generalisation of model performance when it put online.

## Gaps in Literature
- many papers go over just accuracy error metrics and don’t dive into actual costs of poor accuracy, a hypothetical might be that overestimating load resulting in extra generators being activated which would have its own associated cost.
- Not many articles go over online machine learning algorithms, algorithms that train to real time data streams
- Testing the generalisation - test the generalisation of our model by applying the model to different datasets in different areas.

**6. Challenges and Opportunities**
  - Challenges in short-term load forecasting include data availability, quality, and granularity, as well as the impact of uncertainty and volatility in energy markets (Metaxiotis et al., 2003).
  - Opportunities for future research include the integration of advanced data analytics techniques, optimization methods, and predictive analytics to address existing challenges and improve forecasting accuracy (Jacob et al., 2020).
## Challenges
[Reference: Advances in electric power and energy systems: load and price forecasting]
wind power forecasting
photovoltaic and solar power forecasting
marine currents for tidal, wave and river turbines

Despite advancements, challenges persist, particularly in forecasting irregular load profiles and incorporating renewable energy sources. (Aguilar Madrid & Antonio, 2021)

# Notes:
- Short-term load forecasting with good accuracy is a challenging task, but it is helpful for a secure and stable powersystem operation. As per the statistical analysis, there is even a 1% increase in prediction accuracy leads to considerable profit. High-speed and good accuracy short-term load forecasting is required for economical load dispatch in power sys-tems. As a result, an efficient short-term electric power load prediction model is very important and useful for smartgrid operations and also improves decision making (Veeramsetty et al., 2021)
- When displaying results they highlighted there best performing models in the table with gray and dark grey backgrounds
- Other Industry participants
  - IEA – international energy agency
  - who is in charge of NSW dispatching?

# ML Methods Pros/Cons
For pro/con table categories the models as statistical models//Machine learning model // hybrid models
Model	Pros	Cons	Assumptions
SARIMA (Seasonal Autoregressive Integrated Moving Average)	Extends ARIMA to handel seasonal variations / Suitable for data with clear seasonal patters / Well established / Simple and interpretable	Limited in capturing complex nonlinear patters	Assumes seasonal patterns are stable and consistent over time
LSTM networks (Long Short-Term Memory)	Capable of capturing nonlinear relationship and long term dependencies in sequential data / Can handle large amount of data	Requires more training data compared to traditional time series models / Complex to train and tune
GBM (Gradient Boosting Machines)	Can handle modelling complex relationships between response and predictor / Robust in handling missing data and outliers	Prone to overfit, especially when the data is noisy / Complex hyperparameter tuning
Random Forest	Robust, handels overfitting and noise well / Can model both numeric and categorical features	May suffer in performance vs other models if features are highly correlated
SVM (support vector machines)	Effective at capturing non-linear relationships / Has demonstrated advantages over classical time series models

A con for most of the ML models is the increase in required computation power and data preprocessing.
Emerging trends and advancements in load forecasting research, such as the integration of renewable energy sources, smart grid technologies, and data-driven analytics. These trends reflect the evolving landscape of the electricity industry and the increasing demand for more accurate and adaptive forecasting techniques.
provides a nuanced analysis of the strengths and weaknesses inherent in different forecasting methods. It examines factors such as forecasting accuracy, computational complexity, interpretability, and robustness to data quality and quantity.

SVR is not robust to outliers, ANN has the weakness of setting the correct number of hidden layers or can be easily trapped into a local minimum, and DL approaches require massive high-dimensional datasets for good performance. XGB lacks these issues and outperforms the others for solving STLF. (Aguilar Madrid & Antonio, 2021)
# Biblography

Aguilar Madrid, E., & Antonio, N. (2021). Short-Term Electricity Load Forecasting with Machine Learning. Information, 12(2), 50. https://doi.org/10.3390/info12020050
Andriopoulos, N., Magklaras, A., Birbas, A., Papalexopoulos, A., Valouxis, C., Daskalaki, S., Birbas, M., Housos, E., & Papaioannou, G. P. (2020). Short Term Electric Load Forecasting Based on Data Transformation and Statistical Machine Learning. Applied Sciences, 11(1), 158. https://doi.org/10.3390/app11010158
Hafeez, G., Alimgeer, K. S., & Khan, I. (2020). Electric load forecasting based on deep learning and optimized by heuristic algorithm in smart grid. Applied Energy, 269, 114915. https://doi.org/10.1016/j.apenergy.2020.114915
Heidrich, B., Mannsperger, L., Turowski, M., Phipps, K., Schäfer, B., Mikut, R., & Hagenmeyer, V. (2022). Boost short-term load forecasts with synthetic data from transferred latent space information. Energy Informatics, 5(S1), 20. https://doi.org/10.1186/s42162-022-00214-7
Houimli, R., Zmami, M., & Ben-Salha, O. (2020). Short-term electric load forecasting in Tunisia using artificial neural networks. Energy Systems, 11(2), 357–375. https://doi.org/10.1007/s12667-019-00324-4
Javed, U., Ijaz, K., Jawad, M., Ansari, E. A., Shabbir, N., Kütt, L., & Husev, O. (2021). Exploratory Data Analysis Based Short-Term Electrical Load Forecasting: A Comprehensive Analysis. Energies, 14(17), 5510. https://doi.org/10.3390/en14175510
Solyali, D. (2020). A Comparative Analysis of Machine Learning Approaches for Short-/Long-Term Electricity Load Forecasting in Cyprus. Sustainability, 12(9), 3612. https://doi.org/10.3390/su12093612
Veeramsetty, V., Chandra, D. R., & Salkuti, S. R. (2021). Short‐term electric power load forecasting using factor analysis and long short‐term memory for smart cities. International Journal of Circuit Theory and Applications, 49(6), 1678–1703. https://doi.org/10.1002/cta.2928
Xu, L., Li, C., Xie, X., & Zhang, G. (2018). Long-Short-Term Memory Network Based Hybrid Model for Short-Term Electrical Load Forecasting. Information, 9(7), 165. https://doi.org/10.3390/info9070165