Todo – Make sure Harvard 7 Referencing is correct
# Nomenclature
Abbreviation	Full form
ANFIS	Adaptive neuro-fuzzy inference system
ANN	Artificial Neural Network
AEMO	Australian Energy Market Operator
ARIMA	Auto-Regressive Integrated Moving Average
ARMA	Auto-Regressive Moving Average
XGBoost	Extreme Gradient Boosting
ELM	Extreme Learning Machine
GPR	Gaussian Process Regression
GBM	Gradient Boosted Machines
LSTM	Long Short-Term Memory
ML	Machine Learning
MLR	Multiple linear regression
RF	Random Forest
RBM	Restricted Boltzmann Machine
SARIMA	Seasonal Auto-regressive Integrated Moving Average
STLF	Short Term electrical Load Forecasting
SVM	Support Vector Machines

# Literature Review
## Brief Intro and motivation tie back to the research question:
This section reviews literature from academic and industry sources, regarding historical and modern methodologies around STLF. The research aims to inform and guide decision making processes in project areas such as data collection, data analysis, model selection and model evaluation.
## Factor affecting electrical load
For data collection, the project draws on temperature, time, and aggregated AEMO price data. These variables have been established as key covariates of electrical load (Andriopoulos et al., 2020; Houimli et al., 2020). Temperature notably driving energy demand in the form of heating and cooling, the relationship being non-linear and time dependent (Javed et al., 2021). Other features include degree days, special event days, humidity and socioeconomic factors such as population, gross national product, imports, and exports [AEMO] & (Kavaklioglu et al. - HARVARD REF). The diversity of variables emphasises the landscape of STLF research its scope scaling from a single transformer to entire countries, to time frames, ranging from five minutes up to a week (Aguilar Madrid & Antonio, 2021).
With the projects consideration being only NSW and due to accessibility to granular data, only relevant variables that are readily accessible will be included.

## STLF approaches History
STLF was approached traditionally with statistical time-series models. Univariate models such as ARIMA and exponential smoothing relied solely on historical electrical load data, ignoring other inputs notably temperature. Multivariate models allowed for more features to be introduced but struggled with capturing non-linearities and temporal variations in the datasets (Rodrigues et al., 2023). This builds into the modern machine learning dominated space. Their popularity attributed to being able to handle exogenous variables, achieve higher accuracy and integrate growing amounts of available data (Gabaldón, 2021).
A review of some of the methods explored are outlined in TABLE-LitReviewBreakdown. The table should be used to highlight the variety of techniques and types of evaluation metrics used, and not as a direct comparison across models that are based on different populations, places and data. The concept is that a universally best technique simply does not exist, and modelling should consider the demands and needs for modelling before analysis (Hong & Fan, 2016). To understand potential candidate models, strengths and weaknesses are also considered [NEW_TABLE_PRO_&_CON]. This table is by no means exhaustive but provides a rational for the projects direction.
For this project our team has existing knowledge with creating XGB and LSTM models, these algorithms have also demonstrated power in terms of accuracy and robustness in other case studies and are the nominated models. (Andriopoulos et al., 2020)

## Performance enhancing techniques
The majority of articles now utilise hybrid methods, where a significant amount of attention goes into tailoring approaches to specific forecasting tasks and datasets (Aguilar Madrid & Antonio, 2021). Hybrid in this case referring to machine learning ensembles or pipelines that prepare and manipulate data, see TABLE XXX. Some of these techniques are described below along with hyper-parameter optimisation.
### Data preparation techniques
Data preparation involves managing missing values, detecting outliers and cleaning data. For example (Koukaras et al., 2024) data preparation used extreme values to detect outliers in both power and temperature variables. They addressed outliers using a capping technique and used linear interpolation for missing weather data. They further prepared for ML algorithms by standardising using scikit-learns ‘StandardScaler’, which was adopted by this project to help improve convergence rates and accuracy. Apart from that the project instead resampled into 30minute intervals and smoothed the time series data and interpolated missing values that had data within the time window, dropping records that did not (Rodrigues et al., 2023). This method reduces the impact of noisy data, removes outliers and deals with missing values.

### Data manipulation techniques
#### Synthetic data techniques
A developing method is synthesising artificial data to help modelling when there is limited availability of training data, termed the ‘cold start’ problem. For example (Heidrich et al., 2022) generates data using a seed noise sampling technique and although it introduces complexity in the form of hyper-parameters and required data assumptions, it was shown to be beneficially adaptable for load forecasting problems. Similarly (Fan et al., 2022) synthesised records by applying noise, rotation, jittering and scaling to original datasets.

#### Probabilistic load forecasting
The probabilistic load forecasting field was also considered for the project. The technique aims to create probability density functions for the overall balance of power. Input and output features are treated as random variables and with normality assumptions of forecasted load being reasonable, can make predictions on a range of possible outcomes along with their associated likelihoods. The technique is similar to computationally expensive statistical methods such as monte-carlo simulations and Bayesian inference. (Hong & Fan, 2016)

Since we have data availability over 10years, with excellent temperature granularity, the added complexity of data manipulation techniques will only be incorporated if initial results are unable to meet the required performance to beat the current model.

### Hyperparameter optimisation
The importance of optimising models through hyperparameter selection is well understood in machine learning. A specific example to the STLF problem is when designing a SVM model the choice of kernel greatly impacts model performance (Rodrigues et al., 2023). Industry sources similarly identify the value of hyperparameter selection and performs in-sample and out-of-sample model diagnostic checks during training and validation. This process includes changing model hyperparameters until accuracy metric converges to an acceptable range (AEMO, 2023).
Our project will make use of the readily available libraries in scikit-learn to tune model parameters, these packages were similarly used by (Koukaras et al., 2024).

### Model Evaluation
The popular approach to model evaluation was using an assortment of performance measures including RMSE (root mean square error), MAE (mean absolute error), MAPE (mean average percent error) and R2 (r squared) (Huang et al., 2021). Some uncommon ones included MAD (mean absolute deviation), NRMSE (normalised RMSE) and CVRMSE (coefficient of variation of RMSE) (Sha’aban, 2024). This project uses the MAE as the main metric for comparing models, due to easy interpretability and how it is readily implemented in scikit-learn. The potential downsides of the metric however are not being able to distinguish between the direction of estimation, namely if the model is over or under estimating, and that it doesn’t place more weightings on larger errors, which metrics like MSE and RMSE do. Another practice common in the machine learning field is using cross validation to better estimate test error, allowing for a more accurate estimate of model performance after deployment.

We summaries our process for the last two sections as a logical approach, a range of different models will be engineered for the task that will draw on existing evaluation metrics to select a priority model. Each candidate model will have shown previous value in related works or be viable for establishing baselines for comparison. Selected modelling types are also selected with time constraints and team skill sets in mind. The selected models include [X Y Z]. Evaluation will be based mostly on MAE due to the advantages discussed above.

## Gaps and Challenges in Literature
Though the objective isn’t to cover literature gaps, identifying them along with challenges faced by other researchers is deemed valuable in determining potential limitations of the project. Some gaps identified include:
- Quantifying the improvements on forecasting accuracy, and how this impact could be incorporated into model selection. For example introducing error weights into models that penalise under-estimation when blackouts are costly or penalise over-estimation more greatly if running excess generators is costly.
- Lack of information on how STLF models specifically deal with model drift [REFERENCE DRIFT ARTICLE].
- Isolated results and distinct articles. Use of common datasets and benchmarking to establish comparable models would address this (Rodrigues et al., 2023).
- Lack of national-level forecasts studies (Sha’aban, 2024).
- Lack of consumption profile at a customer level, with models preferring to aggregate power consumption at a top level.(Andriopoulos et al., 2020)
- Lack of research that extract intrinsic time-relation dimensions of the data (Huang et al., 2021).
Some challenges to STLF space include incorporating the increased use of renewable energy sources and erratic load profiles arising from demand response programs into modelling (Aguilar Madrid & Antonio, 2021).

## Closing Statement
The significance of precise load forecasting extends to operational cost estimation and profit maximization. A marginal 1% reduction in Mean Absolute Percentage Error (MAPE) can result in a 0.1-0.3% decrease in generation costs [5, 15, 16]. Previous studies indicate that a 1% increase in prediction error could escalate operational costs by approximately 10 million pounds annually in the British thermal power system [5, 15, 16]. Thus, the criticality of accurate forecasting cannot be over emphasized.
Short-term load forecasting with good accuracy is a challenging task, but it is helpful for a secure and stable powersystem operation. As per the statistical analysis, there is even a 1% increase in prediction accuracy leads to considerable profit. High-speed and good accuracy short-term load forecasting is required for economical load dispatch in power sys-tems. As a result, an efficient short-term electric power load prediction model is very important and useful for smartgrid operations and also improves decision making (Veeramsetty et al., 2021)

# Table – Organise based on concluded best model

Reference	Best model	Article description	Evaluation metric
(Houimli et al., 2020)	ANN	Modelled half-hourly electric load demand in Tunisa. Used only temperature, electricity and calendar variables, along with lagged versions. Showed the levenberg-marquardt outperformed resilient back-propagation and conjugate gradient algorithm learning methods. Produced multiple models for separate days of the week.	MAPE (%): 2.11 / (5model average)
(Solyali, 2020)	ANN	Created ANN, MLR, ANFIS and SVM to forecast energy demand of Cyprus. ANN was the resulting best model which was designed to have 7 input nodes, a 1 layer deep 80 node wide hidden layer all combining for a single output node.	RMSE: 7.67
(Solyali, 2020)	ANN	Produced an ANN, ANFIS, MLR and SVM to model one week electricity demand in Cyprus. Study was compared with other research done in the same area. Made 2 models one for each year of data.	Prediction error %: / 1.32 / RMSE: 11.29 / (2model average)
(Guo et al., 2021)	Ensemble	Created a fusion frame for combining output from 3 models namely a SVM, RF and LSTM model. The aim was to overcome model weaknesses with the strength of other models.	MAPE (%):2.85
(Xu et al., 2018)	Ensemble	Inputted data into a LSTM and ELM separately and used their output as inputs for a linear regression model. Trained a SVR as well for additional comparison. The data used was based on 16 commercial and residential buildings in the United States. Used min-max normalisation and tanh activation function for the LSTM. / Hybrid model had around half the MAE value compared to each individual component model.	MAE: 2.88 / MRE(%): 5.43 / RMSE: 3.62
(Huang et al., 2021)	LSTM	Created a decomposition-based multi-time dimension long short-term memory LSTM. They trained multiple models for each year of data available.	MAPE (%):1.97
(Veeramsetty et al., 2021)	LSTM	Created a LTSM for STLF of a substation. Used factor analysis for dimensional reduction (techniques included Bartletts test and kaiser-meyer-olkin). Best performing model had 2 hidden layers of 23 neurons with a batch size of 32. Article provides the results of different LSTM architectures.	MSE: 0.014 / RMSE: 0.117 / MAE:0.0874
(Hafeez et al., 2020)	RBM	The paper outlines attempts to optimise forecasting with smart grid data. They created a RBM using MMI for feature selection and GWDO for hyper-parameter tuning.	MAPE (%):0.45
(Candanedo et al., 2017)	SVM	Created models to predict energy use of appliances of a single house. Used the models to scale feature importance and retested different models based on the separate combinations of features.	MAPE (%):29.76
(Sha’aban, 2024)	SVM	Used SVM, ANN, and GRP to create hourly and half hourly forecasts of UK’s power system.	MAPE (%): 0.96
(Aguilar Madrid & Antonio, 2021)	XGBoost	Created an XGB model that the authors reported outperformed other competing models in areas such as training time, flexibility (in hyper-parameter space) and interpretability (through feature importance property).	MAPE (%):3.66

# ML Methods Pros/Cons
For pro/con table categories the models as statistical models//Machine learning model // hybrid models
	Model	Pros	Cons	Assumptions
Statistical Methods	ARMA, ARIMA, SARIMA	ARIMA can be extended to SARIMA that handles data with clear seasonal patterns. / These methods are well established, simple, reliable and explainable. They require small computational resources compared to ML.	Suitable for smaller datasets. Some designed for only univariate series and can be sensitive to outliers. Limited in capturing complex nonlinear patters	For SAIRMA season patterns are assumed to be stable and consistent over time.
Machine Learning Algorithms	ANN	Can handle multivariate datasets and is generally better at modeling than traditional statistical based methods.	‘black box’ model that needs to be trained and optimized. The method needs larger datasets and is impacted by missing values. Requires knowledge of ANN architecture. Can get trapped in local minimums resulting is sub-optimal performance.
	LSTM	Capable of capturing nonlinear relationship and long term dependencies in sequential data / Can handle large amount of data	Requires more training data compared to traditional time series models / Complex to train and tune
	GBM	Can handle modelling complex relationships between response and predictor / Robust in handling missing data and outliers	Prone to overfit, especially when the data is noisy / Complex hyperparameter tuning
	RF	Robust, handels overfitting and noise well / Can model both numeric and categorical features	May suffer in performance vs other models if features are highly correlated
	SVM	Effective at capturing non-linear relationships / Has demonstrated advantages over classical time series models	Not robust to outliers

Information for table taken from:
 (Kontopoulou et al., 2023)
 (Aguilar Madrid & Antonio, 2021)

Deep learning approaches require massive high-dimensional datasets for good performance.

Figure 1: Guo et al., 2020 - pros cons of SVM RF and LSTM
# Bibliography: